د. أديب عبد العالي الازبجي   Histology         	   	Lecture :- 1

Tissue processing

- Using wax-embedded sections is the main technique used in histology.

- The term micrometer (μm) is being used nowadays instead of micron (μ).

- 1 micrometer or micron = 0.001 mm.

- Routine light microscopy uses thin sections of tissue to study cell morphology. Resolution of structures by light microscopy is of the order of 0.2 μm, but in routine practice with paraffin sections this is seldom better than 0.6 μm.

- Sections are usually obtained as follows:

  - Tissue is immersed in a preservative solution (fixative), which cross-links or precipitates proteins and prevents degradation.

  - Tissue is embedded in a firm medium (paraffin wax) for cutting into thin sections.

• Tissue is cut into sections (conventionally 5–8 μm thick) on a microtome.

TISSUE PROCESSING OVERVIEW

- Fixation

- Preserves tissues in situ as close to the lifelike state as possible

- Ideally, fixation will be carried out as soon as possible after removal of the tissues, and the fixative will kill the tissue quickly, thus preventing autolysis.

- Chemical substances like formalin, mercuric chloride, acetic acid, picric acid and glutaraldehyde are used as fixatives to preserve tissues.

- All fixatives have both desirable and undesirable effects.

- A combination of these fixatives is often prepared to get the maximum desirable effect.

- Small pieces of fresh tissues are placed in common fixatives like 10% neutral formal saline for 24 hours.

- The purpose of fixation is

- – to preserve the morphology and chemical composition of the tissue,

- – to prevent autolysis and putrefaction,

- – to harden the tissue for easy manipulation,

- – to solidify colloidal material, and

- – to influence staining.

Factors affecting fixation

- Buffering

• Fixation is optimal at a neutral pH, in the range of 6 to 8 .

- Penetration .

Fixative solutions penetrate at different rates, depending on the diffusibility of each individual fixative

- Volume

Should be at least a 10:1 ratio of fixative to tissue .

- Temperature

Increasing the temperature, as with all chemical reactions, increases the speed of fixation

- Concentration

Formalin is best at 10%; glutaraldehyde is generally made up at 0.25% to 4%

- Time interval

Formalin should have 6 to 8 hours to act before the remainder of the processing is begun .

- Decalcification

- Tissue calcium deposits are extremely firm and do not section properly with paraffin embedding .

- After fixation, some hard tissues like bone and tooth, which contain large amount of calcium salts, require an additional step called decalcification before they are subjected for dehydration.

- Decalcification makes the hard tissues soft, enabling them to be cut with microtome. For decalcification, several decalcifying agents are used, namely 10% nitric acid, 5% trichloro-acetic acid and ethylene diamine tetra acetic acid (EDTA).

- Dehydration

- Fixed tissue is too fragile to be sectioned and must be embedded first in a non-aqueous supporting medium (e.g., paraffin)

- Water from the tissues is removed in a gradual manner by immersing the tissues in ascending grades of alcohol,  50%,70%, 90% and absolute alcohol, in order to embed it in paraffin wax which is not miscible in water.

- Tissue remains in each of these grades for 30–60 minutes.

- Clearing

- After dehydration the tissue is treated with a paraffin solvent (clearing agent) like xylene or toluene for 2-3 hours. These agents penetrate and replace the alcohol from the tissue and make it translucent (clear).

- Ethanol is not miscible with paraffin, so nonpolar solvents (e.g., xylene, toluene) are used as clearing agents; this also makes the tissue more translucent .

- Embedding

- In order to obtain thin sections with microtome, tissue is infiltrated with embedding medium which gives a rigid consistency to the tissue.

- The various embedding media are paraffin wax, celloidin, gelatin, plastic resins (for EM), etc.

- Paraffin is the routinely used embedding medium for light microscopy.

- Embedding involves two steps, namely, impregnation and casting or block making.

- Section Cutting (Microtomy)

- 5–7 μm-thick sections are cut with a rotary microtome.

- The cut paraffin sections are affixed to albuminised glass slides after flattening the sections over warm water.

- The slides with sections are either air dried or dried in an incubator overnight at 37 °C and stored for staining at room temperature.

- Staining

- Allows for differentiation of the nuclear and cytoplasmic components of cells as well as the intercellular structure of the tissue .

- Cover-slipping

- The stained section on the slide is covered with a thin piece of plastic or glass to protect the tissue from being scratched, to provide better optical quality for viewing under the microscope, and to preserve the tissue section for years .

STAINING PROCEDURE :-

- Staining is done routinely by using a basic and an acidic dye that stain tissue components selectively.

- Tissue components that stain more readily with basic dyes are termed basophilic and are blue in color and those with an affinity for acid dyes are termed acidophilic and are pink/orange in color.The basic dyes are haematoxylin, toluidine blue and methylene blue. The acidic dyes are eosin, orange G and acid fuchsin.

- Of these dyes, the combination of haematoxylin and eosin (H&E) is most commonly used in histological staining procedure.

- However, special stains like periodic acid Schiff reagent (PAS), osmic acid, Mallory and Masson’s, trichrome stains are being used to selectively identify certain tissue components.

- Haematoxylin usually stains the acid component (nucleus) of the cell, blue or black, whereas eosin stains the basic components present in the cytoplasm, pink.

- • Hematoxylin does not directly stain tissues but needs a “mordant” or link to the tissues; this is provided by a metal cation such as iron, aluminum, or tungsten

- • The hematoxylin-metal complex acts as a basic dye, and any component that is stained is considered to be basophilic (i.e., contains the acid groups that bind the positively charged basic dye), appearing blue in tissue section.

- • Conversely, eosin is an acid aniline dye with an affinity for cytoplasmic components of the cell

- Eosin stains the more basic proteins within cells (cytoplasm) and in extracellular spaces (collagen) pink to red (acidophilic) .