Department of physiology

Subject: Medical physics               [image: image1.png]


        
Light in Medicine              

· Spectrum of light from the sun
Visible light is a appearance of electromagnetic (EM) radiation, as are radio waves, infrared radiation, ultraviolet radiation, X-rays and microwaves. Normally, visible light is defined as the wavelengths that are visible to most human eyes. Even though man is now very efficient at making artificial light, the sun is still the major source of light in the world. The sun is both beneficial and hazardous to our health. The light visible to the human eye and the eye is most efficient in the wavelengths corresponding to the maximum output from   the sun.
· Properties of light

Light has some interesting properties, many of which are used in medicine:
1. Refraction and index of refraction.

      The speed of light changes when it goes from material into another. The ratio of the speed of light in a vacuum to its speed in a given material is called the index of refraction. If a light beam meets a new material at an angle other than perpendicular, it bends, or is refracted.  This property permits light to be focused and is the reason we can read and see objects clearly.
2. Interference and diffraction (wave property)
     Light behaves both as a wave and as a particle. As a wave it produces interference and diffraction, which are of minor importance in medicine . 
3. Absorption by a single molecule (particle property)
· As a particle it can be  absorbed by a single molecule. When a light photon is absorbed its energy is used in various ways. It can cause a chemical change in the molecule that in turn can cause an electrical change. This is basically what happens when a light photon is absorbed in one of the sensitive cells of the retina ( the light – sensitive part of the eye). The chemical change  in a particular point of the retina  triggers an electrical signal to the brain to inform it that a light photon has been absorbed at that point.
· When light is absorbed, its energy generally appears as heat. This property is the basis for the use in medicine of lR light to heat tissues. Also, the heat  produced by laser beams is used to "weld" a detached retina to the back of the eyeball and to coagulate small blood vessels in the retina.
· Sometimes when photon is absorbed, a lower energy light photon is emitted. This property is known as fluorescence, it is the basis of the fluorescent lightbulb. Certain materials fluoresce in the presence of UV light, sometimes called "black light," and give off visible light. The amount of fluorescence and the color of the emitted light depend on the wavelength of the UV light and on the chemical composition of the material that is fluorescing. Another important application is in fluorescent microscopes.
4. Reflection
     Light is reflected to some extent from all surfaces. There are two types of reflection. Diffuse reflection occurs when rough surfaces scatter the light in many directions. Specular reflection is a more useful types of reflection; it is obtained from very smooth shiny surfaces such as mirrors where the light is reflected at an angle that is equal to the angle at which it strikes the surface. Mirrors are used in many medical instruments. One simple instrument is a mirror that is a mirror that is held at the back of a patient's throat to look at his vocal folds.
[image: image2.png]


[image: image3.jpg]



 Diffuse reflection                                                      Specular reflection
· Measurement of light and its units
     The three general categories of light - UV, visible, and  IR. Wavelengths of light used to be measured in microns (1 μ = 10-6 m) or in angstroms (1 Å = 10-10 m), but at present the recommended unit is the nanometer (1 nm = 10-9 m). Ultraviolet light has wavelengths from about 100 to 400 nm; visible light extends from about 400 to 700 nm; and IR light extents from about 700 to over 104 nm. 
      Each of these categories is further subdivided according to wavelength λ. For example, UV – C has wavelengths from about 100 to 290 nm, UV – B has wavelengths from 290 to 320 nm, and UV – A has wavelengths from 320 to 400 nm. 
       Visible light is measured in photometric units that relate to how light is seen by the average human eye. In photometry the quantity of light striking a surface is called illuminance and the intensity of a light source is called its luminance. All light radiation, including UV and IR radiation, can be measured in radiometric units. In radiometry the quantity of light striking a surface is called irradiance and the intensity of a light source is its radiance. 
   The wavelengths of light fit into the whole spectrum of electromagnetic radia​tion. Note that light has wavelengths much shorter than TV and radio waves but much longer than X – rays and gamma rays.
    Since light is a form of energy, it is sometimes useful to talk about the energy of individual light photons. Visible light has energies ranging from about 2(eV) up to about 4(eV). For comparison, the kinetic energy of a molecule in air at room temperature is about 0.025(eV) and the energy of a typical X – ray photon used in medicine is about 50000 (eV), or 50 (keV).  
Applications of visible light in medicine
An obvious use of visible light in medicine is to permit the physician to obtain visual information about the patient regarding,  for example, the color of his skin and the presence of abnormal structures in or on his body. It is quite easy for a physician to examine the skin under normal lighting conditions.

· Mirror 
     when she wishes to look into a body opening , she is faced with the practical problem of getting light into the opening without obstructing the view. Like a lot of tricks, this one is done with mirrors with a hole in the middle of it for the physician to look through . The curved surface focuses the light at the region of interest. More sophisticated instruments, such as the 
· ophthal​moscope for looking into the eyes 
· otoscope for looking into the ears
· endoscopes, are used for viewing internal body cavities. Special purpose endoscopes are often given names indicating their purpose. For example, cystoscopes are used to examine the bladder, proctoscopes are used for examining the rectum, and bronchoscopes are used for examining the air passages into the lungs. 
·  Rigid endoscope. It is rigid tube with a light source to illuminate the area of interest. Many of them are equipped with optical attachments to magnify the tissues being studied.
· Flexible endoscope. The development of fiberoptic techniques permitted the construction of flexible endoscopes which can be used to obtain informa​tion from regions of the body that cannot be examined with rigid endo​scopes, such as the small intestine and much of the large intestine. Some flexible endoscopes are over a meter in length. The image obtained with a flexible endoscope is not as good as that obtained with a rigid endoscope, but often the only alternative to a flexible endoscopic examination is exploratory surgery. Flexible endoscopes usually have an opening or channel that permits the physician to take samples of the tissues (biopsies) for later microscopic examination.
Since light contains energy that largely appears as heat when it is absorbed, there is a limit on the amount of light that can be used in endoscopy. For endoscopy, the heating can be reduced by reducing the IR light from the source with special IR absorbing glass filters. In this cold -light endoscopy the light source contains very little IR radiation and the heating of tissues is minimized.
Transillumination is the transmission of light through the tissues of the body. Most of us have at one time or another shone a flashlight through our fingers to see the red glow that is produced. The glow is primarily red because most of the other colors in the beam are absorbed by the red blood  cells;  the red light is the only important component that is transmit​ted.
· Hydrocephalus(water– head).Transillumination is used clinically in the detection of hydrocephalus in infants. Since the skull of young infants is not fully calcified, light is able to penetrate to the inside of the skull; if there is an excess of relatively clear cerebrospinal fluid (CSF) in the skull, light is scattered to different parts of the skull producing patterns characteristic of hydrocephalus. The special transilluminating device uses a 150 W projection bulb as the light source with a  two position trigger switch. The infant is taken into a dark room for the study; after a few minutes of dark adaptation the physician pulls the trigger to its first position, which turns on a red light that permits him to find the patient. The physician then points the barrel at the part of the head to be studied and pulls the trigger to the second position, which turns off the red light and turns on the intense white light used for the study. Infrared absorbing glass in the beam removes almost all of the IR radiation so that the light striking the infant is primarily visible light. 
· Pneumothorax. Transillumination is also used to detect pneumothorax (collapsed lung) in infants. The bright light penetrates the thin front chest wall and reflects off the back chest wall to indicate the degree of pneumothorax. The physician can then insert a needle attached to a syringe into the area of collapse to remove the air between the lung and chest wall, causing the lung to reinflate. The sinuses, the gums, the breasts, and the testes have also been studied with transillumination.
· Therapeutic use. Visible light has an important therapeutic use. Since light is a form of energy and is selectively absorbed in certain molecules, it should not be surprising that it can cause important physiological effects. Many prema​ture infants have jaundice, a condition in which an excess of bilirubin is excreted by the liver into the blood. It was discovered that most premature infants recover from jaundice if their bodies  are exposed to  visible  light (phototherapy) and the blue light    (~ 450nm) appears to be the most important component. 
Applications of ultraviolet and infrared light in medicine
The wavelengths adjacent to the visible spectrum also have important uses in medicine. Ultraviolet photons have energies greater than visible photons, while IR photons have lower energies, because of their higher energies, UV photons are more useful than IR photons.

· UV light

· < 290 nm , Ultraviolet light is germicidal-that is, it can kill germs-and it is sometimes used to sterilize medical instruments. 
· Conversion of molecular into vitamin D, Ultraviolet light also produces more reactions in the skin than visible light. Some of these reactions are beneficial, and some are harmful. One of the major beneficial effects of UV light from the sun is the conversion of molecular products in the skin into vitamin D and improves certain skin condition.
· Affect melanin to cause tanning or sunburn, Ultraviolet light from the sun affects the melanin in the skin to cause tanning. However, UV can produce sunburn as well as tan the skin. The wavelengths that produce sunburn are around 300 nm,  just at the edge of the solar spectrum. The amount of 300 nm light in the sun's spectrum depends on the amount of atmosphere that the sunlight must pass through. In winter in northern climates the angle of the sun is such that the atmosphere absorbs nearly all of the wavelengths that produce sunburn. In the early morning and late afternoon of summer days the angle of the sun is again such that the UV wavelengths that produce sunburn are filtered out by the atmosphere. Ordinary window glass permits some near UV to be transmitted but absorbs the sunburn component.
· skin cancer in humans, the high incidence of skin cancer among people, who have been exposed to the sun a great deal, such as fishermen and agricultural workers, may be related to the fact that the UV wavelengths that produce sunburn are also very well absorbed by the DNA in the cells. Skin cancer usually appears on those portions of the body that have received the most sunlight, such as the tip of the nose, the tops of the ears, and the back of the neck. Fortunately, skin cancer is easily cured if it is detected in its early stage.

You probably know that the sky is blue because light of short (blue) wavelengths is scattered more easily than light of long wavelengths. Ultraviolet light has even shorter wavelengths than blue light and is scattered even more easily. About half of the UV light hitting the skin on a summer day comes directly from the sun and the other half is scattered from the air in other parts of the sky. Thus you can get a sunburn even when you are sitting in the shade under a small tree. Even when the sky is completely covered with clouds about one half of the UV light gets through.  
	    Ultraviolet light cannot be seen by the eye because it is absorbed before it reaches the retina. The large percentage of near – UV  light absorbed by the lens may be the cause of some cataracts (opacities of the lens).
    Individuals who have had the lens of an eye removed because of a cataract are able to see in to the near–UV region because the major absorber is no longer present.
· IR light
	


· About half of the energy from the sun is in the IR region. 
· The warmth we feel from the sun is mainly due to the IR component. 
· The IR rays are not usually hazardous even though they are focused by the cornea  and  lens of the eye onto the retina. 
· Filter (e.g., plastic sunglasses) that removes most of the visible light and allows most of the IR wavelengths through can cause a burn on the retina. Some people have damaged their eyes in this way by looking at the sun during a solar eclipse. 
· Dark glasses absorb varying amounts of the IR and UV rays from the sun.

· Heat lamps that produce a large percentage of IR light with wavelengths of 1000 to 2000 nm are often used for physical therapy purposes. Infrared light penetrates further into the tissues than visible light and thus is better able to heat deep tissues.

· Two types of IR photography are used in medicine: 
1. Emissive IR photography, which uses the long IR
heat waves emitted by the body that give an indication of the body
temperature, is usually called thermography. 
2. Reflective IR photography, which uses wavelengths of 700 to 900 nm to show the patterns of veins just below the skin. Some of these veins are visible to the eye, but many more can be seen on a near – IR  photograph of the skin. Since the temperature at the skin depends on the local blood flow, a thermogram with good resolution shows the venous pattern much like a near-IR photograph.

There is considerable variation in the venous patterns of normal individuals. Even in the same individual the venous patterns in the two breasts may be quite different. Cancer and other diseases can cause changes in the venous pattern, but these changes can be masked by the normal variations. Also, a layer of fat beneath the skin can reduce the appearance of the venous pattern. Nevertheless, IR photograph can be used to follow changes in the venous pattern. 
Near IR penetrates about 3mm below the skin regardless of the color of the skin. Also, differently colored skins reflect about the same amount of IR, so that IR photographs of blacks and whites appear about the same. The IR photograph shows the venous pattern, but the variations in the melanin content of the skin due to the suntan are not apparent.
· IR photographs can also be used to photograph the pupil of the eye 
· IR photographs of biological specimens illuminated with blue – green light sometimes show IR luminescence (fluorescence or phosphorescence). 
- 1 -

